06/09/2020

S107-14WY-06092020.docx

|  |
| --- |
| Wyoming has 2 Construction General Permits – one for “small construction activities” (land disturbance of 1 to 5 acres) and one for “large construction activities” (land disturbance of 5 or more acres).  Below are SCRs to include for each option (small and large construction activities). Determine how much land disturbance is expected on the project and use the appropriate SCR below. |
| **SMALL CONSTRUCTION ACTIVITIES**  Use the following Subsection 107.01 on all projects in **Wyoming** for projects **between 1 and 5 acres of disturbance.**  Exceptions:  (1) Less than 1 acre of total disturbance (1). - No NPDES section required.  (2) Project meets criteria for routine maintenance (2). - No NPDES section required. Document assumptions used to reach this decision in a memo in the project file.  (3) Less than 5 acres of disturbance and the project qualifies for a Low Erosivity Waiver – Contact the Environment Protection Specialist (EPS) for additional language needed. Document assumptions used to reach this decision in a memo in the project file.  (4) Project is on Tribal Lands- Use EPA SCR.  Consult the construction general permit to determine if project-specific requirements are necessary. Consult with EPS for clarifications and technical assistance.  (1) Disturbance area is typically clearing limit to clearing limit including the roadway. It also includes staging, stockpile, and waste areas outside of the clearing limits. Projects that are near the thresholds (1 acre and 5 acres) may be bumped to a higher category when the areas outside the clearing limits are included.  (2) Routine Maintenance - Work that is performed to maintain the original line and grade, hydraulic capacity, or original purpose of the site.   * Performed on a frequent basis – not longer than a few years * Does not disturb soils beneath the pavement. This is a gray area when doing full depth reclamation that includes just aggregates and varies by state. Consult with ESWS. * Reconditioning dirt and aggregate surfaced roads and adding aggregate. Does not include widening of roadways. * Cleaning (pulling) ditches on dirt or aggregate surfaced roads. If there is vegetation removal to soil on paved roads, it will probably not meet the criteria. * Asphalt overlays of existing pavements with no other disturbances of soil. Does not include adding asphalt or concrete paving to existing aggregate or dirt roads. * Pavement preservation. Chip seal, fog seal, and micro-surfacing with no soil disturbances. Large stockpile and staging areas can negate this if there is a potential for sediment loss or other pollution from those operations. * Consult with EPS for other situations that may qualify.   The current permit number is: WYR10-A000 and is scheduled to expire on 03/15/2016 but is administratively extended until another permit can be issued. |

**National Pollutant Discharge Elimination System (NPDES) for Small Construction Activities in Wyoming**

Comply with the requirements of the Wyoming Construction General Permit (CGP) for Small Construction Activities WYR10-A000 for erosion and sediment control due to storm water runoff. The permit is located at:

<http://deq.wyoming.gov/wqd/storm-water-permitting/resources/construction-general-permits/>

This permit expired on 03/15/2016 and has been administratively extended until another permit can be issued. Amend the SWPPP and site plan when the new permit goes into effect to meet new permit conditions.

**(a) General.** Designate a qualified Erosion Control Supervisor according to Subsection 157.03.

Obtain a separate NPDES permit associated with industrial activity for any mobile asphalt and concrete plants that provide material for the project. Provide a copy of the permit and acknowledgement letter to the CO for their records.

**(b) Preparation of SWPPP.** The Government has prepared a preliminary SWPPP. Update the preliminary SWPPP for the project or develop a new SWPPP and provide to the CO for review. When the SWPPP is accepted by the CO and signed by both the CO and the Contractor, it will be the document in force on the project. Do not perform any ground disturbing activities including clearing and grubbing or earthwork until the SWPPP has been accepted by the CO. Implement the SWPPP as required throughout the construction period.

Modify the erosion control details and layout sheets included in the plans, as necessary, to accommodate project site conditions and proposed construction operations and include them in the SWPPP.

**(c) Notice of Intent (NOI).** For small construction projects disturbing less than 5 acres, no NOI is required.

Post a copy of the acknowledgement letter (first page of permit) on the construction site bulletin board throughout the duration of the project.

**(d) Inspections and Revisions to the SWPPP.** Perform inspections as required in the CGP. Document inspections and retain records in the SWPPP.

Revisions to the SWPPP may be necessary during construction to make improvements or to respond to unforeseen conditions noted during construction or site inspections. For that purpose, specify in the SWPPP the mechanism whereby revisions may be proposed by the Contractor or the CO and incorporated into the plan, including review and approval of minor changes. Jointly approve and sign each revision to the SWPPP before implementation. Implement approved changes according to the General Permit.

Place the SWPPP and all updates in a three-ring binder so that completed inspection forms and other records may be inserted. Maintain a current copy of the SWPPP, including a copy of the permit, NOI, and all associated records and forms at the job site throughout the duration of the project. Make the SWPPP available for public inspection and for use by the CO.

**(e) Notice of Termination (NOT).** A NOT is not required. When final stabilization has been achieved on all portions of the site, the requirements of the permit have been completed.

At the completion of the project, provide the CO with the SWPPP, including inspection forms, logs, monitoring reports, and any other information added during the project.

|  |
| --- |
| **LARGE CONSTRUCTION ACTIVITIES**  Use the following Subsection 107.01 on all projects in **Wyoming** with **5 acres or more of land disturbance(1)**  Exceptions:  (1) Project meets criteria for routine maintenance (2). No NPDES section required. Document assumptions used to reach this decision in a memo in the project file.  (2) Project is on Tribal Lands- Use EPA SCR.  Consult the construction general permit to determine if project-specific requirements are necessary. Consult with Environmental Protection Specialist (EPS) for clarifications and technical assistance.  (1) Disturbance area is typically clearing limit to clearing limit including the roadway. It also includes staging, stockpile, and waste areas outside of the clearing limits. Projects that are near the thresholds (1 acre and 5 acres) may be bumped to a higher category when the areas outside the clearing limits are included.  (2) Routine Maintenance - Work that is performed to maintain the original line and grade, hydraulic capacity, or original purpose of the site.   * Performed on a frequent basis – not longer than a few years * Does not disturb soils beneath the pavement. This is a gray area when doing full depth reclamation that includes just aggregates and varies by state. Consult with ESWS. * Reconditioning dirt and aggregate surfaced roads and adding aggregate. Does not include widening of roadways. * Cleaning (pulling) ditches on dirt or aggregate surfaced roads. If there is vegetation removal to soil on paved roads, it will probably not meet the criteria. * Asphalt overlays of existing pavements with no other disturbances of soil. Does not include adding asphalt or concrete paving to existing aggregate or dirt roads. * Pavement preservation. Chip seal, fog seal, and micro-surfacing with no soil disturbances. Large stockpile and staging areas can negate this if there is a potential for sediment loss or other pollution from those operations. * Consult with ESWS for other situations that may qualify.   The current permit number is: WYR10-0000  The expiration date of current permit is 02/01/2020 but permit has been administratively extended until a new permit is issued. |

**National Pollutant Discharge Elimination System (NPDES) in Wyoming for Large Construction Activities.**

Comply with the requirements of the NPDES Construction General Permit (CGP) WYR10-0000 for erosion and sediment control due to storm water runoff. The permit is located at:

<http://deq.wyoming.gov/wqd/storm-water-permitting/resources/construction-general-permits/>

This permit expired on 02/01/2020 and has been administratively extended until a new permit is issued. Amend the SWPPP and site plan when the new permit goes into effect to meet new permit conditions.

**(a) General.** Designate a qualified Erosion Control Supervisor according to Subsection 157.03.

Obtain a separate NPDES permit associated with industrial activity for any mobile asphalt and concrete plants that provide material for the project. Provide a copy of the permit and acknowledgement letter to the CO for their records.

**(b) Preparation of SWPPP.** The Government has prepared a preliminary SWPPP. Update the preliminary SWPPP for the project or develop a new SWPPP and provide to the CO for review. When the SWPPP is accepted by the CO and signed by both the CO and the Contractor, it will be the document in force on the project. Implement the SWPPP as required throughout the construction period.

Modify the erosion control details and layout sheets included in the plans, as necessary, to accommodate project site conditions and proposed construction operations and include them in the SWPPP.

**(c) Notice of Intent (NOI).** The Government will file the NOI upon receipt of the revised and approved SWPPP from the contractor. The CGP requires that the NOI and complete SWPPP be submitted thirty days prior to ground disturbing activities. Do not perform any ground disturbing activities including clearing, grubbing, or earthwork until an acknowledgement letter has been received from the Wyoming Department of Environmental Quality, and the SWPPP has been approved and implemented.

Post a copy of the NOI and acknowledgement letter on the construction site bulletin board throughout the duration of the project.

**(d) Inspections and Revisions to the SWPPP.** Perform inspections as required in the General Permit. Document inspections and retain records in the SWPPP.

Revisions to the SWPPP may be necessary during construction to make improvements or to respond to unforeseen conditions noted during construction or site inspections. For that purpose, specify in the SWPPP the mechanism whereby revisions may be proposed by the Contractor or the CO and incorporated into the plan, including review and approval of minor changes. Jointly approve and sign each revision to the SWPPP before implementation. Implement approved changes according to the General Permit.

Place the SWPPP and all updates in a three-ring binder so that completed inspection forms and other records may be inserted. Maintain a current copy of the SWPPP, including a copy of the permit, NOI, and all associated records and forms at the job site throughout the duration of the project. Make the SWPPP available for public inspection and for use by the CO.

**(e) Notice of Termination (NOT).** The Government will file a NOT.

At the completion of the project, provide the CO with the SWPPP, including inspection forms, logs, monitoring reports, and any other information added during the project.